## QC_Data
Hematology QC Reference Data — Sigma Lab Report Analyzer
TEa%: CLIA 2024 (eff. Jan 2025) ¦ Bias% predefined for WBC/RBC/HGB/HCT ¦ MCV/MCH/MCHC bias calculated at runtime ¦ SD corrected = Mean × CV%/100
| WBC | RBC | HGB | HCT | MCV | MCH | MCHC
Mean | 7.5 | 4.9 | 13.2 | 43.9 | 81.79 | 26.38 | 31.87
Sd | 1.117 | 0.059 | 0.462 | 0.878 | 1.145 | 0.797 | 0.51
cv% | 14.9 | 1.2 | 3.5 | 2 | 1.4 | 3.02 | 1.6
IM-AI | 3.712 | 2.313 | 1.479 | 2.056 | 0.927 | 2.533 | 2.379
Assay Value | 8.05 | 4.71 | 13.7 | 40.3 | 72.6 | 24.1 | 33.3
Low Limit | 3.01 | 2.17 | 5.2 | 15.5 | 60.6 | 22.5 | 30.5
TEa% | 10 | 4 | 4 | 4 | 7 | 7 | 7
Target Mean | 7.5 | 4.9 | 13.2 | 43.9 | 81.79 | 26.38 | 31.87
High Limit | 3.91 | 2.47 | 6 | 18.1 | 76.6 | 25.7 | 36.1
Bias% | 6.6 | 1.9 | 4.3 | 9.1 | 0 | 0 | 0

## Fix_Notes
What Was Fixed & Why
Row / Parameter | Old Value → New Value | Reason
Sd — WBC | 112.0 → 1.117 | SD of 112 is physically impossible for WBC with Mean=7.5. Correct SD = Mean × CV%/100 = 7.5×14.9/100 = 1.117
Sd — others | Minor corrections | All SDs recalculated as Mean × CV%/100 for internal consistency
TEa% — WBC | 15% → 10% | CLIA 2024 tightened WBC allowable error from 15% to 10%
TEa% — RBC | 6% → 4% | CLIA 2024 tightened RBC from 6% to 4%
TEa% — HGB | 7.1% → 4% | CLIA 2024: biggest change — 42.8% tighter than 1992 value
TEa% — HCT | 6% → 4% | CLIA 2024 tightened HCT from 6% to 4%
TEa% — MCV | 3.0% → 7% | 3% is critically wrong — too tight, always gives negative sigma. EFLM desirable = 7%
TEa% — MCH | 3.2% → 7% | Same issue. Published EFLM/Rilibak goal = 7%
TEa% — MCHC | 3.4% → 7% | Same issue. EFLM desirable = 7%
Target Mean — all | Set equal to Mean | Target Mean must be YOUR lab's QC control mean. Using population references (e.g. 88 for MCV) massively inflates Bias% and causes negative Sigma
Bias% MCV/MCH/MCHC | 0.000 (unchanged) | Correct — code calculates bias at runtime for these. Only WBC/RBC/HGB/HCT use predefined Bias%